## Sheet1
KFAG Keswick Flood Action Group |  |  |  |  | Thirlmere Reservoir Spill Discharge Calculation Sheet |  |  |  |  | Al Cook November 2017 - revised Oct 2020
|  |  | 𝑄=𝐶𝑑√𝑔𝐵𝐻1.5 | Transition equation 1 |  | Transition equation 2 |  | Transition equation 3 |  | Wave wall spilling equation |  |  |  | This study and demonstration based on evidence and data made available to KFAG in 2017 ©KFAG 2020 n.b no external pier review received to date
𝑄=𝐶𝑑√𝑔𝐵𝐻1.5
Applied |  | Cd | 0.73 | [6 empty] | Cd | 0.8
Equations |  | √𝑔 | 3.1321 | Sp= 149.89*Ht²-328.01*Ht+264.73 |  | Sp= 9.3988*Ht²+3.7465*Ht+73.15 |  | Sp= -0.3138*Ht²+7.3222*Ht+102.35 |  | √𝑔 | 3.1321
|  | weir width B m. (UU/Jacobs) | 28.37 | [6 empty] | Wall weir width (UU/Jacobs) | 272 | Read results Here
|  | "If" logic |  | "If" logic |  | "If" logic |  | "If" logic |  | additional spilling over wall
Type in Res Height |  | transition zone |  | transition zone |  | transition zone |  | transition zone |  | Ht above | Wall
| Here | 0 |  | 1.222 |  | 1.352 |  | 1.924 |  | wave wall | Spill
|  | 1.2215 |  | 1.3515 |  | 1.9235 |  | 3.5
Reservoir Water Levels | Ht above weir | Weir Ht condition | Spill - Sp m³ | Weir Ht condition | Spill - Sp m³ | Weir Ht condition | Spill - Sp m³ | Weir Ht condition | Spill - Sp m³ | Ht above Wave Wall | Wall Spill m³ | Total Spill m³/s | Ml/Day | Warnings
16.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17.01 | 0.46 | 0.46 | 20.2373 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20.2373 | 1748.5063
16.65 | 0.1 | 0.1 | 2.0512 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.0512 | 177.2272
16.75 | 0.2 | 0.2 | 5.8018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.8018 | 501.2743
16.85 | 0.3 | 0.3 | 10.6586 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.6586 | 920.8997
16.95 | 0.4 | 0.4 | 16.4099 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.4099 | 1417.8178
17.05 | 0.5 | 0.5 | 22.9336 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 22.9336 | 1981.4607
17.15 | 0.6 | 0.6 | 30.147 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30.147 | 2604.6977
17.25 | 0.7 | 0.7 | 37.9895 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 37.9895 | 3282.2942
17.35 | 0.8 | 0.8 | 46.4143 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 46.4143 | 4010.1944
17.45 | 0.9 | 0.9 | 55.3835 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 55.3835 | 4785.1352
17.55 | 1 | 1 | 64.8659 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 64.8659 | 5604.4171
17.65 | 1.1 | 1.1 | 74.8352 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 74.8352 | 6465.7585
17.75 | 1.2 | 1.2 | 85.2685 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 85.2685 | 7367.1976
17.85 | 1.3 | 0 | 0 | 1.3 | 91.6311 | 0 | 0 | 0 | 0 | 0 | 0 | 91.6311 | 7916.927 | Tunnel restricted
17.95 | 1.4 | 0 | 0 | 0 | 0 | 1.4 | 96.8167 | 0 | 0 | 0 | 0 | 96.8167 | 8364.967 | Swallow hole filling
18.05 | 1.5 | 0 | 0 | 0 | 0 | 1.5 | 99.9171 | 0 | 0 | 0 | 0 | 99.9171 | 8632.8331 | Swallow hole filling
18.15 | 1.6 | 0 | 0 | 0 | 0 | 1.6 | 103.2053 | 0 | 0 | 0 | 0 | 103.2053 | 8916.9403 | Swallow hole filling
18.25 | 1.7 | 0 | 0 | 0 | 0 | 1.7 | 106.6816 | 0 | 0 | 0 | 0 | 106.6816 | 9217.2887 | Swallow hole filling
18.35 | 1.8 | 0 | 0 | 0 | 0 | 1.8 | 110.3458 | 0 | 0 | 0 | 0 | 110.3458 | 9533.8782 | Swallow hole filling
18.45 | 1.9 | 0 | 0 | 0 | 0 | 1.9 | 114.198 | 0 | 0 | 0 | 0 | 114.198 | 9866.7088 | Swallow hole filling
18.55 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 115.7392 | 0 | 0 | 115.7392 | 9999.8669 | Warning Weir Drowned
18.65 | 2.1 | 0 | 0 | 0 | 0 | 0 | 0 | 2.1 | 116.3428 | 0 | 0 | 116.3428 | 10052.0146 | Warning Weir Drowned
18.75 | 2.2 | 0 | 0 | 0 | 0 | 0 | 0 | 2.2 | 116.94 | 0 | 0 | 116.94 | 10103.6201 | Warning Weir Drowned
18.85 | 2.3 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3 | 117.5311 | 0 | 0 | 117.5311 | 10154.6834 | Warning Weir Drowned
18.95 | 2.4 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4 | 118.1158 | 0 | 0 | 118.1158 | 10205.2044 | Warning Weir Drowned
19.05 | 2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 2.5 | 118.6943 | 0.07 | 12.6224 | 131.3166 | 11345.7549 | Danger Reservoir overtopping
19.15 | 2.6 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6 | 119.2664 | 0.17 | 47.7713 | 167.0377 | 14432.0574 | Danger Reservoir overtopping
19.25 | 2.7 | 0 | 0 | 0 | 0 | 0 | 0 | 2.7 | 119.8323 | 0.27 | 95.6179 | 215.4502 | 18614.8976 | Danger Reservoir overtopping
19.35 | 2.8 | 0 | 0 | 0 | 0 | 0 | 0 | 2.8 | 120.392 | 0.37 | 153.3896 | 273.7816 | 23654.7297 | Danger Reservoir overtopping
19.45 | 2.9 | 0 | 0 | 0 | 0 | 0 | 0 | 2.9 | 120.9453 | 0.47 | 219.604 | 340.5493 | 29423.4589 | Danger Reservoir overtopping
19.55 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 121.4924 | 0.57 | 293.2957 | 414.7881 | 35837.6912 | Danger Reservoir overtopping
| CRM Model Flow | Ht above weir
| 0 | 0
| 3.8 | 0.183
| 9.5 | 0.29
| 19.3 | 0.427
| 22.2 | 0.472
| 31.2 | 0.602
| 39.6 | 0.701
| 59.1 | 0.952
| 70.7 | 1.062
| 82.5 | 1.176
| 88.2 | 1.234
| 90.9 | 1.288
| 94.4 | 1.341
| 98.1 | 1.44
| 100.1 | 1.509
| 106.2 | 1.685
| 115.3 | 1.928
| 117.8 | 2.346
| 120 | 2.73